NOVOFLEX | Disc Push Mount Cable Ties

Push-In Anchor with Integrated Disc for Fast, Tool-Free Cable Mounting

Engineered for Rapid Installation in Panel-Based Systems

In automotive and industrial assemblies, cable bundles must be secured quickly without compromising stability. Conventional fastening methods often require tools, increase assembly time, and fail to provide consistent retention under vibration and environmental exposure.

The NOVOFLEX Disc Push Mount Cable Tie delivers a tool-free, push-fit solution that ensures fast installation, secure anchoring, and long-term performance in demanding environments.

Key Features

- Tool-Free Push Installation
Enables rapid mounting, reducing assembly time and labor effort

- Rattle-Free Anchoring
Ensures tight fit within specified panel thickness range

- Integrated Sealing Disc
Protects against ingress of dust, water, and chemicals

- Single-Piece Design
Combines mounting and bundling for simplified operation

- Consistent Performance
Maintains stability under vibration and industrial conditions

Technical Specifications

| Parameter | Specification |
| --- | --- |
| Material | UL-Listed UV-Resistant Nylon 6.6 |
| Optional Variant | Heat-Stabilized Nylon (up to 115°C continuous use) |
| Flammability | UL94 V-2 |
| Operating Temperature | -20°C to +85°C |
| Attributes | Halogen-Free |
| Standard Colour | UV-Resistant Black |
| Panel Thickness Compatibility | 1.2 mm – 2.0 mm |

Where it performs better:

- Automotive wiring harness systems

- Electrical panels and chassis mounting

- Industrial equipment cable routing

- White goods internal wiring

- General-purpose cable management in harsh environments

Use When

- Fast, tool-free installation is required

- Panel thickness falls within 1.2–2 mm range

- Exposure to dust, water, or chemicals is present

Avoid When

- Panel thickness falls outside specified range

- Reusable or removable fastening is required

- Heavy structural load-bearing is needed

Why Novoflex

Speed in Assembly. Stability in Performance. Reliability in Application.

Novoflex cable management solutions are engineered to simplify installation while delivering consistent performance in real-world industrial conditions. Each product is designed to reduce assembly complexity and improve long-term system integrity.