NOVOFLEX | Identification Cable Ties

Cable bundling with integrated identification

Designed for systems where cable organization must be combined with clear identification—such as electrical panels, industrial installations, and logistics environments requiring traceability and structured labeling.

## 6. Key Features

- Integrated label plate for identification and bundling

- Supports permanent marking (custom printing available)

- High tensile strength for secure cable fastening

- Resistant to environmental and chemical exposure

- Available in multiple colours for coding and organization

## 7. Technical Specifications

| Parameter | Specification |
| --- | --- |
| Material | UL Listed Nylon 6.6 (Polyamide) |
| Type | Identification Cable Tie |
| Temperature Range | -25°C to +85°C |
| Flammability Rating | UL94V-2 |
| Chemical Resistance | Fungus, Corrosion, Mild Acids |
| Colour | Natural White (Std), Multi-colour options |
| Custom Printing | Available (MOQ: 10,000 Nos) |

## 8. where it performs better

- Electrical panel identification and wiring

- Industrial cable management systems

- Logistics and asset tracking

- Structured wiring installations

## 9. Use When

- Cable identification and traceability are required

- Labeling must remain fixed with the cable

- Organized and error-free wiring systems are critical

- Colour coding and marking improve system clarity

## 10. Avoid When

- Simple bundling without identification is sufficient

- Space constraints restrict use of label plates

- Reusable or frequently adjustable ties are needed

- Extreme conditions exceed material limits

## 11. Why Novoflex

Novoflex develops intelligent cable management solutions that go beyond fastening. By integrating identification with secure bundling, Novoflex enhances system clarity, reduces errors, and improves operational efficiency.